Version 1.0 /110621

INVITATION TO TENDER

Iraq Country Office

05 July 2026

PR725462

Supply and Installation of High-Efficiency Solar Energy Systems at Three Schools – Muthana Governorate (Samawa & Rumaitha) and Al-Diwaniyah – Iraq Country Office

SUBMISSION DEADLINE : 23:59 ON 12/07/2026

QUESTIONS / CLARIFICATIONS : yasser.rashid@savethechildren.org

FORMAT FOR SUBMISSION : BIDDER RESPONSE DOCUMENT

PART 1: INVITATION TO TENDER

  - Introduction to SCI

  - Project Overview and Requirements

  - Award Criteria

  - Instructions & Key Information

PART 2: CORE REQUIREMENTS AND SPECIFICATION

Detailed description of SCI’s specific requirements (e.g. volumes, delivery dates / locations, product specifications etc).

PART 3: BIDDER RESPONSE DOCUMENT

Template to be used to submit response to this Invitation to Tender.

# PART 1 – INVITATION TO TENDER

## INTRODUCTION TO SAVE THE CHILDREN

SCI is the world’s leading independent organisation for children. We save children’s lives; we fight for their rights; we help them fulfil their potential. We work together, with our partners, to inspire breakthroughs in the way the world treats children and to achieve immediate and lasting change in their lives.

Our Vision – a world in which every child attains the right to survival, protection, development and participation.

Our Mission – to inspire breakthroughs in the way the world treats children and to achieve immediate and lasting change in their lives.

We do this through a range of initiatives and programmes, to:

- Provide lifesaving supplies & emotional support for children caught up in disasters (e.g. floods, famine & wars).

- Campaign for long term change to improve children’s lives.

- Improve children’s access to the food and healthcare they need to survive.

- Secure a good quality education for the children who need it most.

- Protect the world’s most vulnerable children, including those separated from their families because of war, natural disasters, extreme poverty or exploitation.

- Work with families to help them out of the poverty cycle so they can feed and support their children.

For more information on the work we undertake and recent achievements, visit our website.

## PROJECT OVERVIEW

| Item | Description |
| --- | --- |
| Description of Goods / Services | PR725462 – Supply and Installation of High-Efficiency Solar Energy Systems at Three Schools (Samawa and Rumaitha in Muthana Governorate, and Al-Diwaniyah), under the MYRP Programme. The scope includes supply of hybrid inverters, solar panels, lithium iron phosphate batteries, and full turnkey installation and commissioning at three school sites, as detailed in RFQ (Schedule of Requirements). |
| Outcome of Tender | Purchase Order (– the successful supplier will be awarded a Purchase Order covering the full supply and installation scope described in RFQ. The Purchase Order will specify agreed unit prices, delivery milestones, installation standards, warranty obligations, and payment terms. SCI commits to the quantities set out in RFQ subject to satisfactory vetting and contract execution. |
| Delivery / Completion Timeline | The delivery, installation, and commissioning timeline is to be proposed by the bidder and agreed in the Purchase Order; SCI has not set a fixed completion deadline. Supplier warranties as specified in RFQ shall apply from the date of commissioning acceptance. |

Further detail on the specific requirements of the project (e.g. volumes, dates, specifications etc.) can be found in Part 2 (Core Requirements & Specifications) of this Tender Pack.

## AWARD CRITERA

SCI is committed to running a fair and transparent tender process, and ensuring that all bidders are treated and assessed equally during this tender process. Bidder responses will be evaluated against four weighted categories of criteria: Essential Criteria, Sustainability Criteria, Capability Criteria, and Commercial Criteria.

3.1 ESSENTIAL CRITERIA

Criteria which bidders must meet in order to progress to the next round of evaluation. If a bidder does not meet any of the Essential Criteria, they will be excluded from the tender process immediately. These criteria are scored as ‘Pass’ / ‘Fail’.

3.2 SUSTAINABILITY CRITERIA (10%)

Criteria used to evaluate the impact a supplier has on the environment, local economy and community. Bids will be evaluated against the same pre-agreed Criteria.

### 3.3 CAPABILITY CRITERIA (50%)

Criteria used to evaluate the bidder’s ability, skill, innovation capacity and experience in relation to the requirements. Bids will be evaluated against the same pre-agreed Criteria.

### 3.4 COMMERCIAL CRITERIA (40%)

Criteria used to evaluate the commercial competitiveness of a bid. Bids will be evaluated against the same pre-agreed Criteria.

## VETTING

Successful bidders must be successfully vetted. This involves checking bidders and key personnel against Global Watch Lists, Enhanced Due Diligence Lists and Politically Exposed Persons Lists.

The vetting of bidders will be completed after the award decision and prior to any contract being signed, or orders placed. If any information provided by the Bidder throughout the tender process is proved to be incorrect during the vetting process (or at any other point), SCI may withdraw their award decision.

## BIDDER INSTRUCTIONS

### 5.1 TIMESCALES

| Activity | Date |
| --- | --- |
| Issue Invitation to Tender (ITT) | 05 July 2026 |
| Deadline for questions from Bidders | 08 July 2026 |
| Deadline for Bid Submission | 12 July 2026 – 23:59 (Baghdad Time) |
| Bid Clarifications | TBC |
| Award Contact | TBC |

The above dates are for indicative purposes only and are subject to change.

### 5.2 SUBMISSION FORMAT & BIDDER RESPONSE DOCUMENT

Bidders wishing to submit a bid must use the Bidder Response Document template in Part 3 of this Tender Pack. Any bids received using different formats, or incomplete bids, will not be accepted.

This document allows bidders to submit all the required information and be evaluated fairly and equally against the Essential, Capability and Commercial Criteria. Bidders may also be required to submit supporting documentation. Further instructions can be found within the document in Part 3 of this pack.

Bids can be submitted by either:

Electronic Submission via ProSave

- Submit your response in accordance with the guidance provided in the below document:

Electronic Submission via Email

- Email should be addressed to Supply Chain Team at procurement.iraq@savethechildren.org

- Note – this is a sealed tender box which will not be opened until the tender has closed. Therefore, do not send tender related questions to this email address as they will not be answered.

- The subject of the email should be “ITT/PR725462/Bidder Response – ‘Bidder Name’, ‘Date’’.

- All attached documents should be clearly labelled so it is clear to understand what each file relates to.

- Emails should not exceed 20mb – if the file sizes are large, please split the submission into two emails.

- Do not copy other SCI email addresses into the email when you submit it as this will invalidate your bid.

Paper Submission

- One Copy submitted on headed paper to Italian City 1, Office no. B4, Erbil – Iraq, Erbil, Iraq

- Bids should be submitted in a single sealed envelope addressed to Supply Chain Team.

- The envelope should clearly indicate the Invitation to tender reference number (PR725462), but contain no other details relating to the bid or the bidder name.

- All supporting documentation should be labelled and grouped together (individual envelopes, stapled etc), and then included in a single sealed envelope as per the above.

### 5.3 CLOSING DATE FOR BID SUBMISSION

Your bid must be received, no later than 23:59 on 12 July 2026 (Baghdad Time).

Bids must remain valid and open for consideration for a period of no less than 60 days.

### 5.4 KEY CONTACTS

All questions relating to the tender should be sent via email to:

| Name | Email Address |
| --- | --- |
| Yasser Rashid | yasser.rashid@savethechildren.org |

Please be advised local working hours are Sunday–Thursday, 08:00–17:00 (Baghdad Time, UTC+3). Please allow up to 2 working days for a response.

Where the enquiry may have an impact on other bidders within the process, Save the Children will notify all other Bidders to maintain a fair and transparent process.

# PART 2 – CORE REQUIREMENTS & SPECIFICATIONS

2.1 Background & Overview

Save the Children International (SCI) Iraq Country Office is implementing the Multi-Year Resilience Programme (MYRP). As part of this programme, SCI seeks to improve access to quality education by rehabilitating and equipping three schools – one in the centre of Samawa and one in Rumaitha (Muthana Governorate), and one in Al-Diwaniyah – with high-efficiency solar energy systems to ensure reliable electricity supply for teaching and learning activities.

SCI invites qualified suppliers to submit competitive quotations for the turnkey supply and installation of solar energy systems at all three school sites. The successful bidder will be responsible for the supply of all equipment, delivery to site, full installation, system commissioning, and handover to SCI, including provision of all engineering documentation and applicable warranties.

2.2 Scope of Supply & Services

The requirement covers the supply, delivery, installation, and commissioning of the following equipment at three school sites, as detailed in RFQ (Schedule of Requirements):

•  Hybrid Solar Inverters – equivalent to DEYE SUN-6K-SG06LP1-EU (6KW, Single Phase), Qty: 3 units (1 per school)

•  Solar Panels – equivalent to Jinko Solar Tiger Neo N-type Bifacial Dual-Glass 650Wp, Qty: 36 panels (12 per school)

•  LiFePO4 Battery Units – equivalent to Dyness DL5.0C (LV51100), 5.12 kWh, Qty: 3 units (1 per school)

•  Turnkey Installation & Commissioning – full DC/AC electrical setup, mounting structures, protection boards, grounding, earthing, surge protection, and system handover at 3 school sites

2.3 Performance & Service Standards

The successful supplier will be expected to:

•  Supply equipment that meets or exceeds the technical specifications set out in RFQ; equivalent products are acceptable provided specifications are fully met.

•  Deliver all equipment to all three school sites in original manufacturer packaging, in perfect condition, and with all accessories required for installation.

•  Complete the full installation and commissioning at all three schools within the timeline proposed in their bid and agreed with SCI, with a final inspection and sign-off by SCI.

•  Provide all engineering documentation, wiring diagrams, and user manuals upon handover.

•  Honour all warranty terms: minimum 5 years for inverters and batteries; minimum 12 years product warranty for solar panels; minimum 1 year for installation workmanship.

2.4 Quantities & Scope

This is a single, fixed-scope procurement. Quantities are as stated in RFQ: 3 inverters, 36 solar panels, 3 battery units, and installation services at 3 sites. Bidders must price all items on a per-unit basis, with a separate line for installation per school site. No partial bids will be accepted; bidders must quote for the full scope.

2.5 Technical Specifications & Equivalency

Full technical specifications are set out in RFQ. Bidders may propose equivalent products provided they meet or exceed all stated specifications. Where an equivalent product is offered, the bidder must clearly state the brand, model, and provide a technical datasheet demonstrating compliance with each specified parameter. SCI reserves the right to reject proposed equivalents that do not demonstrably meet the specifications.

2.6 Delivery Locations & Proposed Installation Timeline

All equipment must be delivered to and installed at the three designated school sites: (1) School in the centre of Samawa (Muthana Governorate), (2) School in Rumaitha (Muthana Governorate), and (3) School in Al-Diwaniyah. Exact site addresses and access arrangements will be confirmed upon award of the Purchase Order.

The supplier is responsible for delivery, installation, and commissioning at all three sites. SCI has not set a fixed delivery or installation deadline; instead, bidders must propose their own delivery and installation timeline (lead time) as part of their bid, counted from the date of Purchase Order issuance:

•  Bidders must state their proposed lead time for equipment delivery to all three sites.

•  Bidders must state their proposed timeline for installation and commissioning at all three sites.

•  The proposed timeline will be considered during evaluation, and the final schedule will be agreed with the successful bidder and confirmed in the Purchase Order.

2.7 Critical / Must-Have Technical Requirements

•  All solar panels must be N-type monocrystalline with minimum module efficiency of 24%, dual-glass bifacial construction, and IP68-rated junction box.

•  Inverters must support both on-grid and off-grid (hybrid) operation, with minimum IP65 protection rating and compatible with lead-acid and lithium-ion batteries.

•  Batteries must use LiFePO4 (Grade A cell) Lithium, with minimum 6,000 cycle life at 90% Depth of Discharge, and IP20 protection rating as a minimum.

•  All electrical installation work must comply with IEC and NEC standards; earthing, grounding, and surge protection (Type 2 SPD) are mandatory.

•  All equipment must carry valid manufacturer warranties and the supplier must provide copies of warranty certificates upon handover.

2.8 Regulatory, Safety & Legislative Requirements

Suppliers must comply with all applicable Iraqi legislation, including valid business registration, tax registration (2025/2026 clearance), and trading licences. All electrical equipment and installation work must meet applicable safety standards, including IEC standards and Iraqi electrical regulations. Equipment must be rated for operation in the Iraqi climate (ambient temperature up to 50°C, voltage 220–240V AC).

2.9 Commercial Terms & Pricing

All prices must be quoted in Iraqi Dinar (IQD) on a delivered-and-installed basis: the supplier is responsible for transportation, delivery to site, full installation, commissioning, and all associated labour, accessories, and applicable local taxes. No additional costs will be accepted after award. Prices must remain valid for a minimum of 60 days from the bid submission deadline.

2.10 Required Certifications & Supporting Documentation

Bidders must submit copies of: business registration certificate, tax registration certificate/number (2025 or 2026 clearance), valid trading licence, and the primary owner/director ID (passport). Where equivalent products are offered, technical datasheets must be included. The commercial pricing schedule is provided in the attached RFQ, which forms an integral part of this Tender Package.

2.11 Technical Documentation & Product Evidence الوثائق الفنية وأدلة المنتج

Bidders must submit technical datasheets for all proposed equipment (inverters, solar panels, and batteries). Where an equivalent product is proposed, the datasheet must clearly demonstrate that all specified technical parameters are met or exceeded. Datasheets should be in English or Arabic. Bidders may also submit photographs of previously completed solar installations as evidence of relevant experience. SCI reserves the right to request a site visit or demonstration prior to award.

يجب على مقدّمي العطاءات تقديم البيانات الفنية (Datasheets) لجميع المعدات المعروضة (المحولات والألواح الشمسية والبطاريات). وفي حال عرض منتج مكافئ، يجب أن تُظهِر البيانات الفنية بوضوح أنّ جميع المواصفات المطلوبة مستوفاة أو متجاوزة. يُقبل تقديم البيانات الفنية باللغة الإنجليزية أو العربية. كما يمكن للمورّد تقديم صور لأعمال تركيب أنظمة شمسية سابقة كدليل على الخبرة. وتحتفظ المنظمة بحقّ طلب زيارة ميدانية أو عرض توضيحي قبل منح العقد.

2.12 Summary of Key Requirements

| Requirement | Specification / Standard | Reference |
| --- | --- | --- |
| Procurement Type | Single Purchase Order – fixed quantities as per RFQ | Part 1 / RFQ |
| Delivery / Installation Timeline | As proposed by the bidder and agreed in the Purchase Order | Part 1 |
| Pricing Basis | Delivered and installed – all transport, labour, accessories, and taxes included | § 2.9 |
| Inverter Warranty | Minimum 5 years (manufacturer) | § 2.7 |
| Solar Panel Warranty | Minimum 12 years product (manufacturer) | § 2.7 |
| Battery Warranty | Minimum 5 years (manufacturer) | § 2.3 |
| Installation Warranty | Minimum 1 year workmanship | § 2.7 |
| Equipment Delivery | As proposed by bidder | § 2.6 |
| Installation Completion | As proposed by bidder | § 2.6 |
| Technical & Commercial Schedule | See attached RFQ (Schedule of Requirements & Pricing) | RFQ |

# PART 3 – BIDDER RESPONSE DOCUMENT

- INTRODUCTION

This document MUST BE USED by Bidders wishing to submit a bid. It is linked into 5 sections detailed below:

- Section 1 – Essential Criteria

- Section 2 – Technical Capability & Experience Questions

- Section 3 – Commercial Questions

- Section 4 – Bidder Submission Checklist

The Bidder is required to sign a copy of the Check list in Section 4 as part of their submission.

- INSTRUCTIONS

Within each section there are instructions providing guidance to the bidder on what information is required. This guidance details the MINIMUM requirements expected by SCI.

For your bid response please complete all the sections in this Part 3 below.

Where you believe there is an alternative specification or solution to the requirements in Part 2 above you may submit an additional bid response. For avoidance of doubt this will require you to submit two (2) separate bid response documents. Both bids shall be evaluated following the same process as outlined in Part 1 above.

If a Bidder wishes to add further information, this is acceptable but the additional information should be limited to only items that are relevant to the tender.

- For the avoidance of doubt, bidders are required to complete all items within the Bidder Response Document unless clear instruction is provided otherwise.

- If a Bidder does not complete the entire Bidder Response document, their submission may be declared void.

- If a Bidder is unable to complete any element of the Bidder Response Document, they should contact Save the Children through the using the contact details provided for guidance.

By submitting a response, the bidder confirms that all information provided can be relied upon for validity and accuracy.

Bidder Contact Information

Please complete the table below with your company’s contact details. / يرجى تعبئة الجدول أدناه بمعلومات الاتصال الخاصة بشركتكم.

| BIDDER CONTACT INFORMATION / معلومات الاتصال بالمورّد |  |  |
| --- | --- | --- |
| Company Name | اسم الشركة |  |
| Contact Name | اسم جهة الاتصال |  |
| Title / Position | المسمى الوظيفي |  |
| Phone Number | رقم الهاتف |  |
| Email Address | البريد الإلكتروني |  |
| Company Address | عنوان الشركة |  |

## SECTION 1 - ESSENTIAL CRITERIA

INSTRUCTIONS – Bidders are required to complete all sections of the below table.

| Item | Question | Bidder Response |  |
| --- | --- | --- | --- |
| 1 | Bidder accepts Save the Children’s ‘Terms and Conditions of Purchase’ and that any business awarded to the bidder will be completed under the Terms and Conditions included in Section 5 of this pack. يقبل المورّد “شروط وأحكام الشراء” الخاصة بمنظمة Save the Children، وأن أي تعاقد يُمنح للمورّد سيتم وفقاً للشروط والأحكام المدرجة في القسم 5 من هذه الحزمة. | Yes / No | Comments / Attachments |
| 2 | The Bidder and its staff (and any sub-contractors used) agree to comply with: i) SCI’s Supplier Sustainability Policy [set out under Section 4 of this document] throughout this process and during the term of any future contract awarded. يوافق المورّد وموظفوه (وأي متعاقدين من الباطن) على الالتزام بسياسة استدامة الموردين الخاصة بالمنظمة [الواردة في القسم 4 من هذه الوثيقة] طوال هذه العملية وخلال مدة أي عقد يُمنح مستقبلاً. | Yes / No | Comments |
| 3 | The bidder confirms they are not a prohibited party under applicable sanctions laws or anti-terrorism laws or provide goods under sanction by the United States of America or the European Union and accepts that SCI will undertake independent checks to validate this. يؤكد المورّد أنه ليس طرفاً محظوراً بموجب قوانين العقوبات أو قوانين مكافحة الإرهاب المعمول بها، وأنه لا يورّد بضائع خاضعة لعقوبات الولايات المتحدة الأمريكية أو الاتحاد الأوروبي، ويقبل أن تجري المنظمة فحوصات مستقلة للتحقق من ذلك. | Yes / No | Comments |
| 4 | The Bidder confirms it is fully qualified, licenses and registered to trade with Save the Children (including compliance with all relevant local Country legislation). يؤكد المورّد أنه مؤهل ومرخّص ومسجّل بالكامل للتعامل التجاري مع منظمة Save the Children (بما في ذلك الامتثال لجميع التشريعات المحلية ذات الصلة). This includes the Bidder submitting the following requirements (where applicable): - Legitimate business address - Tax registration number & certificate - Business registration certificate - Trading license | Yes / No | Comments |
|  |  | Requirement | Bidder Response / Attachments |
|  |  | Legitimate Business Address |  |
|  |  | Tax Registration Number & Certificate |  |
|  |  | Business Registration Certificate |  |
|  |  | Trading License |  |
| 5 | The Bidder confirms that it is a specialized company in the field of solar energy systems (supply, design, installation, and commissioning of PV systems), and that this is a core part of its registered business activity. SCI reserves the right to verify this and to exclude bidders who are not specialized in this field. يؤكّد المورّد أنّه شركة متخصصة في مجال أنظمة الطاقة الشمسية (توريد وتصميم وتركيب وتشغيل الأنظمة الكهروضوئية)، وأنّ ذلك جزء أساسي من نشاطه التجاري المسجّل. وتحتفظ المنظمة بحقّ التحقق من ذلك واستبعاد المورّدين غير المتخصصين في هذا المجال. | Yes / No | Comments / Attachments |

## SECTION 2 – TECHNICAL CAPABILITY & EXPERIENCE QUESTIONS

Instructions – Bidders are required to complete all sections of the below table.

| Item | Question | Bidder Response |  |  |
| --- | --- | --- | --- | --- |
| 1 | REFERENCES Bidder shares two (2) examples of their experience in supplying and installing solar energy systems (PV panels, hybrid inverters, and battery storage) similar to the scope of this tender. يقدّم المورّد مثالين (2) على خبرته في توريد وتركيب أنظمة الطاقة الشمسية (الألواح الكهروضوئية والمحولات الهجينة وبطاريات التخزين) مشابهة لنطاق هذه المناقصة. Examples provided must be for similar projects within a similar environment / context to that in which Save the Children operates, and within the last two (2) years. يجب أن تكون الأمثلة المقدّمة لمشاريع مشابهة وفي بيئة/سياق مماثل لما تعمل فيه المنظمة، وخلال السنتين (2) الماضيتين. (Note – the Bidder must ensure that for any client references shared, the nominated client is happy to be contacted / visit by Save the Children) (ملاحظة – يجب على مقدّم العرض التأكد من أن العميل المُرشَّح، بالنسبة لأي مراجع عملاء يتم تقديمها، موافق على أن تتصل به منظمة إنقاذ الطفولة أو تزوره) For Procurement Committee (Scoring 10%) | Client Name | Contact Details (Name & Email) | Project Description |
|  |  | 1) |  |  |
|  |  | 2) |  |  |
| 2 | Bidder confirms it employs qualified electrical/solar engineers and certified technicians to carry out the installation, commissioning, and after-sales support. Bidder to attach evidence of relevant staff qualifications and technical capacity. يؤكّد المورّد أنّ لديه مهندسين متخصصين في الكهرباء/الطاقة الشمسية وفنيين مؤهلين لتنفيذ أعمال التركيب والتشغيل والدعم بعد البيع. على المورّد إرفاق ما يثبت مؤهلات الكوادر والقدرة الفنية. For Procurement Committee (Scoring 15%) | Bidder Response |  | Attachment(s) |
| 3 | TECHNICAL COMPLIANCE / المطابقة الفنية Do the equipment you are offering (inverters, solar panels, and batteries) meet or exceed all the technical specifications in RFQ? If you are offering equivalent products, state the brand and model and attach the technical datasheets. هل تستوفي المعدات التي تعرضها (المحولات والألواح الشمسية والبطاريات) جميع المواصفات الفنية الواردة في الملحق (أ) أو تفوقها؟ إذا كنت تعرض منتجات مكافئة، فاذكر العلامة التجارية والموديل وأرفق البيانات الفنية (Datasheets). Minimum: confirm all offered equipment meets the RFQ specifications and attach datasheets. / الحد الأدنى: أكّد أن جميع المعدات المعروضة تستوفي مواصفات عرض سعر وأرفق البيانات الفنية. For Procurement Committee (Scoring 15%) | Bidder Response |  | Attachment(s) |
| 4 | INSTALLATION & COMMISSIONING / التركيب والتشغيل Can you deliver, install, and commission the full system at all three school sites (Samawa and Rumaitha in Muthana Governorate, and Al-Diwaniyah)? Describe your installation approach, mounting structures, electrical protection, grounding, and protection against lightning and high currents. هل يمكنك توريد وتركيب وتشغيل النظام الكامل في مواقع المدارس الثلاث (السماوة والرميثة في محافظة المثنّى، والديوانية)؟ صف منهجية التركيب وهياكل التثبيت والحماية الكهربائية والتأريض والحماية من الصواعق ومن التيارات العالية. For Procurement Committee (Scoring 5%) | Bidder Response |  | Comments |
| 5 | WARRANTY & AFTER-SALES / الضمان وخدمات ما بعد البيع What warranty do you provide for the inverters, solar panels, and batteries, and for the installation workmanship? Do you provide after-sales maintenance and technical support? List any certifications you hold. ما هي مدة الضمان التي تقدمها للمحولات والألواح الشمسية والبطاريات، ولأعمال التركيب؟ هل توفر خدمات صيانة ودعم فني بعد البيع؟ اذكر أي شهادات لديك. Minimum: confirm minimum 5-year warranty for inverters/batteries, 12-year for panels, and 1-year for installation. / الحد الأدنى: أكّد ضماناً لا يقل عن 5 سنوات للمحولات/البطاريات، 12 سنة للألواح، وسنة واحدة للتركيب. For Procurement Committee (Scoring 5%) | Bidder Response |  | Comments |
| 6 | LOCAL & ENVIRONMENT (optional) / المحلي والبيئة (اختياري) Do you do anything good for the environment (e.g. clean/renewable energy, recycling of packaging) or the local community (e.g. hiring local labour and engineers)? هل تقوم بأي شيء جيد للبيئة (مثل الطاقة النظيفة/المتجددة أو إعادة تدوير التغليف) أو للمجتمع المحلي (مثل توظيف عمالة ومهندسين محليين)؟. Minimum: optional — mention anything, even small. / الحد الأدنى: اختياري — اذكر أي شيء ولو بسيط. For Procurement Committee (Scoring 10%) | Bidder Response |  | Attachment(s) |

## SECTION 3 – COMMERCIAL QUESTIONS

Bidders are required to complete their commercial pricing response in full by reference to the Tender RFQ (“RFQ – Schedule of Requirements & Pricing (Solar Energy Systems)”) which is provided as a separate Excel document attached to this Tender Package.

Please refer to: RFQ – Schedule of Requirements & Pricing (Excel)

Bidders must complete the “Unit Price” column for every line item listed in the RFQ, including the installation lines. Incomplete price schedules will result in the bid being declared void. Unit prices must remain valid for a minimum of 60 days from the bid submission deadline.

## SECTION 4 – BIDDER SUBMISSION CHECKLIST

| We, the Bidder, hereby confirm we have completed all sections of the Bidder Response Document: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No | Section |  |  | Please Tick |  |  |
| 1. | Section 1 – Essential Criteria |  |  |  |  |  |
| 2. | Section 2 – Technical Capability & Experience Questions |  |  |  |  |  |
| 3. | Section 3 – Commercial Questions |  |  |  |  |  |
| We, the Bidder, confirm we have uploaded all of the required information and supporting evidence: |  |  |  |  |  |  |
| Section |  | Required Document / Evidence |  |  |  | Please Tick |
| Essential Criteria Evidence |  | Proof of legitimate business address |  |  |  |  |
|  |  | Copy of tax registration number & certificate |  |  |  |  |
|  |  | Copy of business registration certificate |  |  |  |  |
| Capability Criteria Evidence |  | Completed Bidder Response Document |  |  |  |  |
|  |  | Supporting Financial Documents |  |  |  |  |
| Commercial Criteria Evidence |  | Completed Bidder Response Document |  |  |  |  |
| We, the Bidder, hereby confirm we compliance with the following policies and requirements: |  |  |  |  |  |  |
| Policy |  |  | Policy / Document |  | Signature |  |
| Terms & Conditions of Bidding |  |  |  |  |  |  |
| Terms & Conditions of Purchase |  |  |  |  |  |  |
| Supplier Sustainability Policy and the included mandatory policies |  |  |  |  |  |  |

| We confirm that Save the Children may in its consideration of our offer, and subsequently, rely on the statements made herein. |  |
| --- | --- |
| Signature: | ………………………………………………….. |
| Name: | ………………………………………………….. |
| Title: | ………………………………………………….. |
| Company: | ………………………………………………….. |
| Date: | ………………………………………………….. |